## BMR
PUBLIC WATER SYSTEM - BACTERIOLOGICAL MONITORING RECORD
Arkansas Department of Health / Engineering Branch
PUBLIC WATER SYSTEM NAME _______________________________________ |  |  |  |  | PWS ID #
MONTH |  | YEAR |  | COUNTY
DATE | SAMPLE SITE # | TYPE - REGULAR OR RESAMPLE | CHLORINE RESIDUAL MG/L | LAB RESULTS | DAY/DATE RESULTS RECEIVED | RESAMPLE CONTAINERS
(Day/Date Received)
I certify that the information in this report is true and accurate to the best of my knowledge. I acknowledge that any
knowingly false or misleading information may be punishable under 18 USC 1001 and other applicable laws.
Printed Name __________________________ Signature _____________________________ Date _____________
Put any notes or comments on reverse side; make a copy for your records & return to address on reverse side.
MICROBIOLOGICAL RESULTS |  |  |  |  | Population | Min. # / Month
COLIFORM ABSENT: No coliform organisms found. -- Safe sample. |  |  |  |  | 25-1000 | 1
TOTAL, FECAL, or E.coli PRESENT:Coliform present in any concentration |  |  |  |  | 1001-2500 | 2
|  | (finished water). -- Unsafe sample. |  |  | 2501-3300 | 3
INVALID: | Too old, form incomplete or post dated, insufficient amount |  |  |  | 3301-4100 | 4
| or leaked, lab accident, or any other condition which prevents |  |  |  | 4101-4900 | 5
| the determination of the presence or absence of coliform. |  |  |  | 4901-5800 | 6
[5 empty] | 5801-6700 | 7
RESAMPLING INSTRUCTIONS: |  |  |  |  | 6701-7600 | 8
All resamples are to be collected on the same day and within 24 hours of the |  |  |  |  | 7601-8500 | 9
receipt of the sample results. |  |  |  |  | 8501-12,900 | 10
SAFE: | - No resampling necessary. |  |  |  | 12,901-17,200 | 15
UNSAFE: | - If more than one routine sample is collected each month, collect |  |  |  | 17,201-21,500 | 20
| one resample at the site of the original unsafe sample, collect one |  |  |  | 21,501-25,000 | 25
| resample upstream within five service connections, and collect |  |  |  | 25,001-33,000 | 30
| one resample downstream within five service connections. |  |  |  | 33,001-41,000 | 40
| - If only one routine sample is submitted, collect four resample in |  |  |  | 41,001-50,000 | 50
| the manner specified above with the fourth sample collected within |  |  |  | 50,001-59,000 | 60
| the area of the five service connections. If the PWS has only a |  |  |  | 59,001-70,000 | 70
| single tap, collect all resamples from the same tap. |  |  |  | 70,001-83,000 | 80
| - If the original sample is total coliform positive and the resample |  |  |  | 83,001-96,000 | 90
| is fecal coliform positive, or vice versa, an acute maximum |  |  |  | 96,001-130,000 | 100
| contaminant violation exists and notification must be given to the |  |  |  | 130,001-220,000 | 120
electronic media within 72 hours. Contact the Division of
Engineering immediately for instructions.
- In the month following a coliform positive sample, collect and submit a minimum of 5 valid regular
samples.
INVALID: | - Collect a resample at the same location as the invalid sample within 24 hours of the receipt of
the sample results.
NOTE: | An overnight courier system for bacteriological samples is available to public water systems through
the county health unit. The service is free of charge for those water system who have paid the yearly
fee assessment. Contact the health unit in the county for pickup time. Obtain a receipt form the
health unit when the bottles are delivered.
If using the mail, we recommend you ensure the bottles will be received the next day. Always obtain
a receipt from the postmaster.
Operator Comments: ______________________________________________________________________________
________________________________________________________________________________________________
________________________________________________________________________________________________
________________________________________________________________________________________________
Note: Maximum Residual Disinfectant Levels (MRDL): Chlorine & Chloramines -- 4.0 ppm (as Cl2)
RETURN THIS FORM BY THE 10TH OF THE FOLLOWING MONTH TO: |  |  |  | ARKANSAS DEPARTMENT OF HEALTH
ENGINEERING BRANCH
4815 W MARKHAM ST SLOT 37
LITTLE ROCK, AR 72205