## SWO&R Front Side
Return to: Arkansas Department of Health, Engineering Branch | [9 empty] | SURFACE WATER OPERATION & CHEMICAL REPORT FOR | [18 empty] | POPULATION SERVED
4815 West Markham, Slot 37, Little Rock, AR 72205 | [9 empty] | WTP NAME | [11 empty] | PWS ID # | [5 empty] | MONTH | [5 empty] | YR
| Previous Meter Reading | [5 empty] | Temperature |  | Lbs. Chemical Used (List Chemicals) | [5 empty] | pH |  |  | Alkalinity (ppm) |  |  | Hardness (ppm) |  | Fluoride (ppm) | Turbidity (NTU) | [7 empty] | Effluent Disinfectant (ppm) Lowest Measured Value* |  | Chlorite Monitoring (For Systems Using Chlorine Dioxide)
D |  |  |  |  | Hours | Rainfall | [19 empty] | Finished AM |  |  | Finished PM | [6 empty] | D
A | Master Meter Reading |  | Total Treated x1000 gal |  | Plant | (in) | AIr | Water | [25 empty] | Entry Point Chlorite (ppm) | Dist. Samples Collected (Y / N) | A
T |  |  |  |  | Run | [9 empty] | Raw | Set | Fin | Raw | Set | Fin | Raw | Set |  | Raw | Set | 12 -- 4 | 4 -- 8 | 8 -- 12 | 12 --4 | 4 -- 8 | 8 -- 12 |  |  |  |  | T
E | (gal) | [34 empty] | E | NOTE:
1 | [35 empty] | 1 | Complete Highlighted fields
2 | [35 empty] | 2 | to remove highlighting
3 | [35 empty] | 3
4 | [35 empty] | 4 | Enter Master Meter readings to
5 | [35 empty] | 5 | autocalculate the daily production
6 | [35 empty] | 6
7 | [35 empty] | 7
8 | [35 empty] | 8
9 | [35 empty] | 9
10 | [35 empty] | 10
11 | [35 empty] | 11
12 | [35 empty] | 12
13 | [35 empty] | 13
14 | [35 empty] | 14
15 | [35 empty] | 15
16 | [35 empty] | 16
17 | [35 empty] | 17
18 | [35 empty] | 18
19 | [35 empty] | 19
20 | [35 empty] | 20
21 | [35 empty] | 21
22 | [35 empty] | 22
23 | [35 empty] | 23
24 | [35 empty] | 24
25 | [35 empty] | 25
26 | [35 empty] | 26
27 | [35 empty] | 27
28 | [35 empty] | 28
29 | [35 empty] | 29
30 | [35 empty] | 30
31 | [35 empty] | 31
Total | [25 empty] | Total # of Finished Turbidity Values
Avg. | [25 empty] | # > 1 NTU
Max. | [25 empty] | # > 0.3 NTU |  |  | # > 0.15 NTU
Min. | [25 empty] | % > 0.3 NTU |  |  | % > 0.15 NTU
| *4 Hr Effluent Residual Monitoring Required if < 0.2 PPM | [22 empty] | See reverse side for CT compliance, filter operation and ClO2 residual monitoring.
| AM |  |  | PM |  |  |  | AM |  |  | PM |  |  |  | Is booster chlorination provided? | [5 empty] | Comments:
Date | 12 -- 4 | 4 -- 8 | 8 -- 12 | 12 -- 4 | 4 -- 8 | 8 --12 | Date | 12 -- 4 | 4 -- 8 | 8 -- 12 | 12 -- 4 | 4 -- 8 | 8 --12 |  | Yes |  |  | No
[14 empty] | (gal) | [6 empty] | I certify that the information in this report is true and accurate to the best of my knowledge. I acknowledge that any
[14 empty] | (ft3) | 1 | [5 empty] | knowingly false or misleading information may be punishable under 18 USC 1001 and other applicable laws.
[21 empty] | Signature | [11 empty] | Date
[21 empty] | Printed Name | [6 empty] | Position: |  |  |  |  | License #
[15 empty] | F | Y |  |  |  |  | Make a copy for your records & return by the 10th of the following month to the above address.
SW0&CR - 2027 - Front | [14 empty] | C | N
Clear Sheet

## SWO&R Back Side
ClO2 Residual Monitoring (ppm) |  |  |  |  | Filter Operation |  |  |  | Turbidimeter Calibration Record | [6 empty] | WATER QUALITY DATA FOR CT COMPLIANCE
Date | Entry Point | Distribution System |  |  | Date | Number Used | Filters Washed | Wash Water Used x 1000 | Turbidimeter |  | Calibration
|  | Pt. 1 | Pt. 2 | Pt. 3 |  |  |  |  | Name or Number |  | Date |  |  |  |  | PWS | [5 empty] | ID # |  | MONTH |  |  | YR
1 |  |  |  |  | 1 | [6 empty] | P W S # | P L A N T N A M E | S Y S T E M N A M E |  | PLANT NAME
2 |  |  |  |  | 2
3 |  |  |  |  | 3
4 |  |  |  |  | 4 | [11 empty] | Peak | Peak |  |  | (RECORD DISINFECTANT INJECTION POINTS BELOW) | [6 empty] | Percent Compliance
5 |  |  |  |  | 5 | [10 empty] | D | Raw / Plant | High | Minimum | Water | [6 empty] | Was
6 |  |  |  |  | 6 | [10 empty] | A | Flow | Service | Clearwell | Temp. | (RECORD MONITORING LOCATIONS BELOW) | [5 empty] | compliance
7 |  |  |  |  | 7 | [10 empty] | T | Rate | Flow | Level* | [7 empty] | met this
8 |  |  |  |  | 8 | [9 empty] | C | E |  | Rate |  | Degrees | pH | Free Cl2 Residual (ppm) | pH | Free Cl2 Residual (ppm) | pH | Free Cl2 Residual (ppm) | date?
9 |  |  |  |  | 9 | [9 empty] | F |  | (GPM) | (GPM) | (FEET) | [7 empty] | (Yes / No)
10 |  |  |  |  | 10 | [10 empty] | 1
11 |  |  |  |  | 11 | [10 empty] | 2
12 |  |  |  |  | 12 | [10 empty] | 3
13 |  |  |  |  | 13 | [10 empty] | 4
14 |  |  |  |  | 14 | [10 empty] | 5
15 |  |  |  |  | 15 | [10 empty] | 6
16 |  |  |  |  | 16 | [10 empty] | 7
17 |  |  |  |  | 17 | [6 empty] | M O N T H |  |  |  | 8
18 |  |  |  |  | 18 | [10 empty] | 9
19 |  |  |  |  | 19 | [10 empty] | 10
20 |  |  |  |  | 20 | [10 empty] | 11
21 |  |  |  |  | 21 | [10 empty] | 12
22 |  |  |  |  | 22 | [10 empty] | 13
23 |  |  |  |  | 23 | [10 empty] | 14
24 |  |  |  |  | 24 | [10 empty] | 15
25 |  |  |  |  | 25 | [10 empty] | 16
26 |  |  |  |  | 26 | [10 empty] | 17
27 |  |  |  |  | 27 | [10 empty] | 18
28 |  |  |  |  | 28 | [6 empty] | , |  |  |  | 19
29 |  |  |  |  | 29 | [10 empty] | 20
30 |  |  |  |  | 30 | [10 empty] | 21
31 |  |  |  |  | 31 | [10 empty] | 22
SWTR, ESWTRs & D/DBP RULE REQUIREMENTS | [15 empty] | 23
24
Combined Filter Effluent Turbidity Monitoring |  |  |  |  | Chlorine Monitoring |  |  |  |  | Chlorine Dioxide & Chlorite Monitoring
25
> 500 pop: every 4 hours (May substitute continuous) |  |  |  |  | Plant - | < 500 pop: |  | 1 per day min. |  | Daily at Entry Point
< 500 pop: 1 per day min. if approved in writing by ADH | [5 empty] | 501 - 1000: |  | 2 per day min. | [7 empty] | 26
[6 empty] | 1001 - 2500: |  | 3 per day min. |  | (ClO2 & Chlorite Monitoring only applies
Turbidy Level of Combined Filter Effluent | [5 empty] | 2500 - 3300: |  | 4 per day min. |  | to systems using chlorine dioxide) | [5 empty] | 27
[6 empty] | > 3300: |  | continuous
95% < 0.3 NTU | [9 empty] | If ClO2 residual exceeds 0.8 ppm | [5 empty] | 28
[5 empty] | Distribution - Same time & frequency as |  |  |  |  | collect 3 distribution system
Notify the Department of Health |  |  |  |  | coliform sampling. -- (Use separate |  |  |  |  | samples on the following day. Record | [5 empty] | 29
whenever turbidity > 1 NTU |  |  |  |  | "Bacteriological Monitoring Record" form |  |  |  |  | distribution ClO2 residuals on this form.
[5 empty] | for reporting) | [10 empty] | 30
If Chlorite exceeds 1.0 ppm,
Individual Filter Effluent Turbidity Monitoring |  |  |  |  | Minimum Chlorine Level |  |  |  |  | notify the Department of Health and | [5 empty] | 31
collect 3 distribution system
Continuous Monitoring -- Record values |  |  |  |  | Plant Effluent: Not <0.2 ppm for >4hrs. |  |  |  |  | samples on the following day. | [6 empty] | *Applicable only if minimum clearwell level must be maintained for compliance.
every 15 minutes and maintain records on file |  |  |  |  | Distribution: >Trace residual
for review during sanitary survey. | [9 empty] | ClO2 residual and Chlorite distribution | [5 empty] | Comments
[5 empty] | If plant effluent residual <0.2 ppm, |  |  |  |  | system monitoring points as per ADH
(SCADA and /or monthly IFE turbidity meter |  |  |  |  | notify Department of Health and |  |  |  |  | approved sample site plan.
downloads are recommended.) |  |  |  |  | monitor every 4 hours until
[5 empty] | >0.2 ppm |  |  |  |  | Chlorite MCL -- 1.0 ppm | [5 empty] | The above figures are true and accurate to the best of my knowledge.
Turbidity Level of Individual Filters |  |  |  |  | CT: Monitor pH, water temperature, & |  |  |  |  | Maximum Residual Disinfectant Levels
[5 empty] | disinfectant residual at prescribed points | [10 empty] | SIGNATURE / DATE | [7 empty] | POSITION
(Use Separate "Individual Filter Turbidity |  |  |  |  | when plant is at peak flow for that day. |  |  |  |  | Chlorine Dioxide MRDL -- 0.8 ppm (as ClO2)
Monitoring Report" form for reporting) |  |  |  |  | Check compliance. Record on this form. |  |  |  |  | Chlorine & Chloramines MRDL -- 4.0 ppm
[13 empty] | (as Cl2) | [14 empty] | SW0&CR - 2027 - Back
Clear Sheet Data